## Foglio1
File | Description | Start time | End time
normal.csv | Acquisition of normal network traffic | 2021-04-09 11:31 | 2021-04-09 11:28
dataset_norm.csv | Acquisition of normal physical measures | 2021-04-09 11:31 | 2021-04-09 12:28
attack_1 | First acquisition of network traffic with attacks | 2021-04-09 18:23 | 2021-04-09 19:04
dataset_att_1 | First acquisition of physical measures under attack | 2021-04-09 18:23 | 2021-04-09 19:04
attack_2 | Second acquisition of network traffic with attacks | 2021-04-19 15:37 | 2021-04-19 16:12
dataset_att_2 | Second acquisition of physical measures under attack | 2021-04-19 15:37 | 2021-04-19 16:12
attack_3 | Third acquisition of network traffic with attacks | 2021-04-09 19:42 | 2021-04-09 20:03
dataset_att_3 | Third acquisition of physical measures under attack | 2021-04-09 19:42 | 2021-04-09 20:03
attack_4 | Fourth acquisition of network traffic with attacks | 2022-02-21 14:45 | 2022-02-21 15:14
dataset_att_4 | Fourth acquisition of physical measures under attack | 2022-02-21 14:45 | 2022-02-21 15:14

## attack_1
# attack | Start time | End time | Type of attack | Effect on physical process | Effect on network traffic
1 | 2021-04-09 18:26 | 2021-04-09 18:28 | MITM attack against PLC2 and PLC3 | Tank 7 starts to fill up later than normal | ARP packets and MODBUS spoofed packets
2 | 2021-04-09 18:30 | 2021-04-09 18:31 | physical fault: water leak from tank 2 towards tank 3 and from tank 2 towards reservoir | Tank 2 empties faster and tank 3 fills up faster | No effect on network traffic
3 | 2021-04-09 18:34 | 2021-04-09 18:36 | MITM attack against PLC1 and PLC2 | Delay in opening valve 20: tank 6 start to fill up later than normal | ARP packets and MODBUS spoofed packets
4 | 2021-04-09 18:39 | 2021-04-09 18:40 | physical fault: pump 2 breakdown and water leak from tank 1 towards tank 4 | Tank 1 fills up slower and tank 4 fills up earlier than normal | No effect on network traffic
5 | 2021-04-09 18:44 | 2021-04-09 18:46 | MITM attack against PLC3 and PLC4 | Tank 8 starts to fill up later than normal | ARP packets and MODBUS spoofed packets
6 | 2021-04-09 18:49 | 2021-04-09 18:51 | physical fault: water leak from tank 2 towards tank 3 | Tank 2 starts to empty earlier than normal | No effect on network traffic
7 | 2021-04-09 18:58 | 2021-04-09 19:00 | MITM attack against flow sensor 1 and PLC3 | Changing the flow sensor value from 4000 to 100 | ARP packets and MODBUS spoofed packets
8 | 2021-04-09 19:01 | 2021-04-09 19:02 | MITM attack against flow sensor 2 and PLC3 | Changing the flow sensor value from 0 to 4000 | ARP packets and MODBUS spoofed packets

## attack_2
# attack | Start time | End time | Type of attack | Effect on physical process | Effect on network traffic
1 | 2021-04-19 15:39 | 2021-04-19 15:39 | SYN scan against PLC1 | No effect on physical process | TCP packets with SYN flag active
2 | 2021-04-19 15:40 | 2021-04-19 15:40 | FIN scan against PLC2 | No effect on physical process | TCP packets with FIN flag active
3 | 2021-04-19 15:41 | 2021-04-19 15:41 | XMAS scan against PLC3 | No effect on physical process | TCP packets with FIN, URG and PSH flags active
4 | 2021-04-19 15:42 | 2021-04-19 15:42 | Null scan against PLC4 | No effect on physical process | TCP packets with no flag active
5 | 2021-04-19 15:44 | 2021-04-19 15:44 | ICMP flood attack aganst PLC1 from spoofed HMI IP address | Delay in opening valve 20: tank 6 start to fill up later than normal | A huge number of ICMP packets from .20 towards .18
6 | 2021-04-19 15:48 | 2021-04-19 15:49 | physical fault: breakdown of pump 4 | Tank 5 starts to fill up later than normal | No effect on network traffic
7 | 2021-04-19 15:51 | 2021-04-19 15:51 | Null scan against PLC3 | No effect on physical process | TCP packets with no flag active
8 | 2021-04-19 15:55 | 2021-04-19 15:56 | physical fault: breakdown of valve 20 | Tank 6 start to fill up later than normal | No effect on network traffic
9 | 2021-04-19 15:59 | 2021-04-19 15:59 | SYN scan against PLC1 | No effect on physical process | TCP packets with SYN flag active
10 | 2021-04-19 16:00 | 2021-04-19 16:00 | ICMP flood against PLC1 | No effect on physical process | A huge number of ICMP packets from .110 towards .18
11 | 2021-04-19 16:05 | 2021-04-19 16:05 | FIN scan against PLC3 | No effect on physical process | TCP packets with FIN flag active
12 | 2021-04-19 16:08 | 2021-04-19 16:10 | MITM attack against PLC3 and PLC4 | Tank 8 starts to fill up later than normal | ARP packets and MODBUS spoofed packets
13 | 2021-04-19 16:12 | 2021-04-19 16:12 | TCP flood against PLC1 from spoofed PLC2 IP address | Delay in opening valve 20: tank 6 start to fill up later than normal | A huge number of TCP packets from .101 towards .18
N.B. In this acquisition a continuos water leak from tanks 3 and 4 is assumed

## attack_3
# attack | Start time | End time | Type of attack | Effect on physical process | Effect on network traffic
1 | 2021-04-09 19:43 | 2021-04-09 19:44 | physical fault: breakdown of pump 4 | Tank 5 starts to fill up later than normal | No effect on network traffic
2 | 2021-04-09 19:46 | 2021-04-09 19:46 | ICMP flood against HMI from its spoofed IP address | No effect on physical process | A huge number of ICMP packets from .20 towards .20
3 | 2021-04-09 19:50 | 2021-04-09 19:51 | physical fault: breakdown of valve 20 | Tank 6 start to fill up later than normal | No effect on network traffic
4 | 2021-04-09 19:54 | 2021-04-09 19:55 | physical fault: breakdown of pump 2 | Tank 1 fills up slower than normal | No effect on network traffic
5 | 2021-04-09 19:55 | 2021-04-09 19:56 | ICMP flood against PLC1 with huge payloads | Delay in opening valve 20: tank 6 start to fill up later than normal | A huge number of ICMP packets from .110 towards .18 in addition to a huge number of fragmented IP packets
6 | 2021-04-09 19:58 | 2021-04-09 19:59 | MITM attack against PLC3 and PLC4 | Tank 8 starts to fill up earlier than normal | ARP packets and MODBUS spoofed packets
7 | 2021-04-09 20:01 | 2021-04-09 20:02 | MITM attack against PLC3 and PLC4 | No effect on physical process | ARP packets and MODBUS spoofed packets

## attack_4
# attack | Start time | End time | Type of attack | Effect on physical process | Effect on network traffic
2 | 2022-02-21 14:48 | 2022-02-21 14:48 | SYN scan against PLC1 | No effect on physical process | TCP packets with SYN flag active
3 | 2022-02-21 14:48 | 2022-02-21 14:48 | FIN scan against PLC2 | No effect on physical process | TCP packets with FIN flag active
4 | 2022-02-21 14:49 | 2022-02-21 14:49 | XMAS scan against PLC4 | No effect on physical process | TCP packets with FIN, URG and PSH flags active
5 | 2022-02-21 14:49 | 2022-02-21 14:49 | Null scan against PLC3 | No effect on physical process | TCP packets with no flag active
6 | 2022-02-21 14:52 | 2022-02-21 14:52 | SYN scan against PLC2 | No effect on physical process | TCP packets with SYN flag active
7 | 2022-02-21 14:52 | 2022-02-21 14:53 | ICMP flood against PLC1 from spoofed PLC4 IP address | Delay in opening valve 20: tank 6 start to fill up later than norma | A huge number of ICMP packets from .103 towards .18, loss of connection to PLC1
8 | 2022-02-21 14:56 | 2022-02-21 14:56 | physical fault: breakdown of pump 2 | Tank 1 fills up slower than normal | No effect on network traffic
9 | 2022-02-21 14:57 | 2022-02-21 14:58 | ICMP flood against PLC1 from spoofed PLC1 IP address | No effect on physical process | A huge number of ICMP packets from .20 towards .18, loss of connection to PLC1
10 | 2022-02-21 14:58 | 2022-02-21 14:59 | physical fault: water leak from tank 4 | Tank 4 fills up slower than normal | No effect on network traffic
11 | 2022-02-21 15:02 | 2022-02-21 15:03 | physical fault: breakdown of pump 4 | Tank 5 starts to fill up later than normal | No effect on network traffic
12 | 2022-02-21 15:04 | 2022-02-21 15:08 | MITM attack against PLC3 and PLC4 | No effects until 15:06:16, then tank 7 exceeds its maximum value | ARP packets and MODBUS spoofed packets
13 | 2022-02-21 15:09 | 2022-02-21 15:09 | SYN scan against PLC4 | No effect on physical process | TCP packets with SYN flag active
14 | 2022-02-21 15:09 | 2022-02-21 15:09 | FIN scan against PLC2 | No effect on physical process | TCP packets with FIN flag active
15 | 2022-02-21 15:12 | 2022-02-21 15:14 | TCP flood against PLC1 from spoofed HMI IP address | Delay in opening valve 20: tank 6 start to fill up later than normal | A huge number of TCP packets from .20 towards .18, degradation of all connestions